## Slide 1: Module 5 Class Problems
Nuclear Power

## Slide 2
Q1. For thorium-234 (atomic number 90), calculate the percentage difference between the actual ratio Z/A and the ratio Z/A for this atomic number that results in the lowest energy state.

## Slide 3
Q2. Calculate the energy released in the following spontaneous fission reaction:
238U → 95Sr + 140Xe + 3n
given the atomic masses to be m(238U) = 238.050784 u, m(95Sr) = 94.919388 u, m(140Xe) = 139.921610 u, and m(n) =1.008665 u.

## Slide 4
Q3. Compute the energy resulting from the following nuclear reaction:
Mass of U-235, Xe-140, and Sr-94 can be assumed 235.043923 amu, 139.921640 amu, and 93.915360 amu, respectively

## Slide 5
Q4. A nuclear power plant, whose capital cost has been fully repaid, operates with a total of 155,000 kg of uranium (or 175,800 kg of UO2) in its reactor core, which has a U-235 concentration of 2.8%. Each year one-third of the reactor fuel is replaced at a cost of $40 million, which has built into it $0.001/kWh to be paid to a fund for the management of nuclear waste. The facility also incurs $118 million/year in nonfuel operating and maintenance cost. The plant has a rated capacity of 1.2 GWe. The working fluid is compressed to 10 MPa, and then heated to 325°C, after which it is expanded in the turbine to 10 kPa, condensed, and returned to the pump for return to the reactor core. The generator is 98% efficient. Assume that all energy released in nuclear fission is transferred to the working fluid, and that, due to various losses, the actual Rankine cycle used achieves 90% of its ideal efficiency. Ignore the contribution of fission of Pu-239 that results from transformation of some of the U-238 in the fuel.
Calculate the cost per kWh of production for this nuclear power plant.
Suppose instead that the plant is newly built at a cost of $8000 per kW to be amortized over 20 years at a 5% discount rate. What is the new cost per kWh?

## Slide 6
Q5. In previous question, consider the following scenarios: (a) If the cost of raw uranium is $65/kg, what percent of the cost of $40 million worth of fuel rods does this amount constitute? (b) If the cost increases to $260/kg, and all other cost components of the refueling remain the same, what is the new cost of the refueling each year?
Comment on the sensitivity of LCOE to fuel cost.

## Slide 7
Q6. Carry out the rudimentary design of a small modular nuclear reactor that delivers 100 MWe. The reactor is based on a Rankine cycle where the steam is expanded in a turbine from 12 MPa and 330°C to condensed water at 5 kPa. Assume that the generator is 98% efficient, the actual cycle achieves 90% of the efficiency of the ideal cycle, and 90% of the thermal energy released in the nuclear reactions is transferred to the working fluid. (a) If the reactor uses uranium as a fuel which is enriched to 3% U-235, what mass of fuel is consumed each year? (b) What is the flow rate of steam in kg/s required when the reactor is running at full power?